## Equipment
Equipment Needs for 1 Hollow Fiber Station (Runs up to 16 Systems) | Qt | Vendor | Catalog # | Where to get in Europé?
Thermo BSC, Class II A2, 6 ft, 10 inch sash opening | 1 | Thermo | 13-261-223
Thermo Reach-In Incubator Model 3590/3591 | 2 | Thermo | 39-50
4 Shelf Wire Shelving Storage Unit (72" x 36" x 24") | 1 | Staples | 810882
Masterflex L/S Computer-Compatible Digital Drive, 0.02 to 100 rpm | 4 | Cole Parmer | EW-07551-30
Masterflex L/S 8-channel, 4-roller cartridge pump head | 4 | Cole Parmer | C-07519-06
Cartridges for Masterflex pump heads | 32 | Cole Parmer | C-07519-80
Syringe Pump NE-1600 | 4 | Syringpump | NE-1600
Eppendorf 5418 w/rotor 18x2ml 14,000rpm/16,813 x g 17lb | 1 | Fisher | 05-403-90
Fibercell 38mm Reservoir Caps (16 each 4"X4" stems, 32 each 8"X4" stems) | 48 | FiberCell | A1006 | KDBIO
FiberCell Duet Pumps | 8 | FiberCell | P3202 | KDBIO
Nalgene 4L Polycarbonate Bottles | 64 | Fisher | 02-960-52A
Pipetting needle, 14 gauge, 4”, 12/pack | 2 | Fisher | 14-825-16M | KDBIO
Pipetting needle, 14 gauge, 6”, 12/pack | 2 | Fisher | 14-825-16N
APC Power Saving Back-UPS Pro 1500 | 1 | APC | BR1500G
Total

## Supplies
Estimated Supply Expenses for 1 HFS (T1/2= 4h, 10 days)
Disposables | Qt Needed | Vendor | Part # | Where to get in Europé?
HF Cartridge (Polysulfone/Cellulosic) | 1 | Fibercell | C3008 | KDBIO | For polysulfone use cat.#C2011
14 gauge Masterflex tubing 10ft X 3 | 30 | Cole-Parmer | C-96403-14 | https://www.coleparmer.com/i/masterflex-l-s-spooled-platinum-cured-silicone-tubing-l-s-14-500-ft/9640314?searchterm=C-96403-14 |  | Janusz Kossakowski
Male Luer adaptor for 14g Tubing | 3 | Cole-Parmer | EW-45518-02 | https://www.coleparmer.com/i/cole-parmer-male-luer-with-lock-ring-x-3-32-hose-barb-pp-25-pk/4551802?searchterm=EW-45518-02 |  | Business Manager - Europe
Femal Luer adaptor for 14g Tubing | 3 | Cole-Parmer | EW-45508-02 | https://www.coleparmer.com/i/cole-parmer-female-luer-x-3-32-hose-harb-adapter-pp-25-pk/4550802?searchterm=EW-45508-02 |  | Phone: +48 222414309
13 gauge Masterflex tubing 10ft X 2 | 20 | Cole-Parmer | C-96403-13 | https://www.coleparmer.com/i/masterflex-l-s-spooled-platinum-cured-silicone-tubing-l-s-13-500-ft/9640313?searchterm=C-96403-13 |  | jkosako@coleparmer.com
Male Luer adaptor for 13g Tubing | 2 | Cole-Parmer | EW-45518-00 | https://www.coleparmer.com/i/cole-parmer-male-luer-with-lock-ring-x-1-16-hose-barb-pp-25-pk/4551800?searchterm=EW-45518-00
Femal Luer adaptor for 13g Tubing | 2 | Cole-Parmer | EW-45508-00 | https://www.coleparmer.com/i/cole-parmer-female-luer-x-1-16-hose-barb-adapter-pp-25-pk/4550800?searchterm=EW-45508-00
CultureGard In-line fliter | 2 | Spectrum | CU2M-205-12N
Single Stopcock | 1 | Fisher | MX5311L
Double Stopcock | 1 | Fisher | MX5342L
1 Luer Lock | 1 | Fisher | MX492
Millipore Millex Syringe Filters | 3 | Fisher | SLGV033RB |  | FiberCell is recommending 50mm filters now, hydrophobic, 0.2 sterilizing
Nalgene 250mg Bottle | 1 | Fisher | 03-312-3
BD 3ml Syringes for culture (8 Time Points) | 8 | BD/Fisher | 14-823-435
BD 20cc syringes for culture (8 time points X 2) | 16 | BD/Fisher | 22-124-967
2ml Microtubes for culture (8 time points) | 8 | Fisher | 05-538-69C
Snap Cap Tubes (8 time points X 6 Dilutions) | 48 | BD/Fisher | 352054
50ml Centrifuge Tubes | 2 | Fisher | 05-538-60
BD 20cc syringes for drug delivery | 2 | BD/Fisher | 22-124-967
BD 3ml Syringes PK (10 Time Points) | 12 | BD/Fisher | 14-823-435
1.7ml Tubes for PK | 12 | Fisher | MCT-175-C
Pippette Tips | 72 | Fisher | 02-707-478
Gloves (12/day X 14days) | 168 | Fisher | 19-050-592
TSAII Sheet Blood Plates | 48 | Fisher | B21261X
Petri Dishes (6 plates X 8 Sample Time) | 48 | Fisher | FB0875713
MH Agar | 31.008 | Fisher | DF0252-17-6
MHII Broth 1.152L/day X 12 days (22g/L) | 304.128 | Fisher | B12322
Cost for 1 HF System
250mL or 125mL flat-botttom flasks |  | Triforest | http://www.triforestlabware.com/Labware/Flasks
these have a 38mm neck fitting our A1007 cap